# CHEMISTRY LABORATORY

# LIST OF REQUIREMENTS – FOR A CLASS OF 30 STUDENTS

CLASSES XI & XII

COMMON LABORATORY APPARATUS:

- Kipp’s Apparatus

- Balance

- Measuring Cylinder (1000 ml)

- Beakers (1000 ml, 500 ml, 250 ml)

- Reagent bottles

- Glass trough

- Plastic containers (for distilled water and glass containers for solutions)

- Dropper (plastic and glass)

- Mortar and pestle

- Spatula

- Filter paper

- Litmus paper

- Starch Iodide paper

- Chromatography paper or Whatman’s Filter Paper

- Chromatography apparatus

- Universal indicator

| ITEMS | QUANTITY |
| --- | --- |
| - Test Tubes | As required |
| - Test Tube rack | 30 |
| - Glass tube | 30 |
| - Delivery tube | 30 |
| - Glass rod | 30 |
| - Funnel | 30 |
| - Bunsen Burner | 30 |
| - Tripod stand | 30 |
| - Wire gauze with asbestos lining | 30 |
| - Porcelain basin (small) | 30 |
| - Burette (50 ml with 0.1 ml accuracy (plastic) | 30 |
| - Pipette (20 ml or 25 ml) (plastic) | 30 |
| - Conical flask (250 ml) | 30 |
| - Beakers (100 ml) | 30 |
| - Beakers (250 ml) | 30 x 2 |
| - Watch glass | 30 |
| - Test tube holder | 30 |
| - Tongs | 30 |
| - Burette stand with clamp | 30 |
| - Hard glass test tube | 30 |
| - Measuring cylinder (100 ml) | 30 |

#### CHEMICALS REQUIRED FOR THE LABORATORY:

QUANTITY

# AMMONIUM SALTS:

- Ammonium Chloride		-	500 g

- Ammonium Sulphate		-	500 g

- Ammonium Nitrate		-	500 g

- Ammonium Carbonate		-	500 g

- Ammonium Oxalate		-	250 g

- Ammonium Phosphate		-	250 g

- Ammonium Acetate		-	250 g

- Ammonium dichromate		-	250 g

## ALUMINIUM  SALTS:

1. 	Aluminium Bromide		-	250 g

2. 	Aluminium Sulphate		-	500 g

3. 	Aluminium Carbonate		-	500 g

4. 	Aluminium Nitrate		-	500 g

### BARIUM SALTS:

1.	Barium Chloride		-	250 g

2.	Barium Nitrate		-	250 g

QUANTITY

### CALCIUM SALTS:

1.	Calcium Carbonate		-	500 g

2.	Calcium Nitrate		-	500 g

3. 	Calcium Hydroxide		-	500 g

4. Calcium Oxalate		-	500 g

COPPER SALTS:

1.	Copper Carbonate		-	500 g

2.	Copper Sulphate		-	500 g

3.	Copper Nitrate		-	500 g

### IRON SALTS:

1.	Ferric Chloride		-	500 g

2.	Ferrous Sulphate		-	500 g

3.	Ferrous ammonium Sulphate 		-	500 g

4.	Ferrous sulphide sticks		-	500 g

### LEAD SALTS:

1.	Lead Acetate		-	250 g

2.	Lead Carbonate		-	250 g

3.	Lead Nitrate		-	500 g

4.	Lead Dioxide		-	250 g

5. Red Lead (Trilead tetraoxide)		-	250 g

### QUANTITY

### MAGNESIUM SALTS:

1.	Magnesium Carbonate		-	250 g

2.	Magnesium Nitrate		-	250 g

3.	Magnesium Sulphate		-	500 g

4.	Magnesium Nitrite		-	500 g

5.  Magnesium Oxalate		-	500 g

### MANGANESE SALTS:

1.	Manganese Dioxide		-	500 g

2.	Manganese Chloride		-	250 g

### POTASSIUM SALTS:

1.	Potassium Chromate		-	250 g

2.	Potassium Dichromate		-	500 g

3.	Potassium Chloride		-	500 g

4.	Potassium Ferrocyanide		-	250 g

5.	Potassium Ferricyanide		-	250 g

6.	Potassium Hydroxide		-	250 g

7.	Potassium Iodide		-	250 g

8.	Potassium Permanganate		-	250 g

9.	Potassium Thiocyanate		-	250 g

10. Potassium hydrogen sulphate	-	250 g

### QUANTITY

### SODIUM SALTS:

1.	Sodium Acetate		-	250 g

2. 	Sodium Bicarbonate		-	250 g

3. 	Sodium Carbonate		-	500 g

4. 	Sodium Bisulphite		-	250 g

5. 	Sodium Nitrate		-	250 g

6. 	Sodium Nitrite		-	250 g

7. 	Sodium Thiosulphate		-	500 g

8. 	Sodium Hydrogen Phosphate		-	250 g

9. 	Sodium Hydroxide (pellets)		-	500 g

### ZINC SALTS:

1.	Zinc Acetate		-	500 g

2.	Zinc Carbonate		-	500 g

3.	Zinc Nitrate		-	250 g

4.	Zinc Sulphate		-	250 g

### METALS REQUIRED:

### Copper Turnings, Magnesium strips, zinc electrode,

### Copper electrode

### QUANTITY

### OTHER CHEMICALS:

1.	Borax 		-	250 g

2.	Nickel Nitrate		-	250 g

3.	Iodine crystals		-	100 g

4.	Dimentyl Glyoxime		-	100 g

5.	2, 4 Dinitrophenyl Hydrazine		-	100 g

6.	Phenylhydrazine		-	100 g

7.	Glucose		-	500 g

8.	Iodine		-	100 g

9.	Oxalic Acid		-	500 g

10. Pyrogallol	-		250 g

11. Phenolphthalein	-	 	50 ml

12. Resorcinol	-		100 g

13. Starch	-		500 g

14.	Strontium Nitrate		-	250 g

15.	Alpha – Napthol		-	100 g

16.	Beta – Napthol		-	100 g

17.	Ammonium Cerric Nitrate		-	100 g

18.  Silver Nitrate 		-	100 g

19.	Benzoic Acid		-	250 g

20.	Sodium Nitroprusside		-	100 g

21.	Fehling’s Solution A and B		-	250 ml + 250 ml

QUANTITY

22.	Formaldehyde		-	500 ml

23.	Ammonium Sulphide		-	100 g

24.	Glycerol		-	500 ml

25.	Chlorine Water		-	500 ml

26.	Bromine Water		-	500 ml

27.	Ethanol		-	500 ml

28.	Silver Nitrate		-	100 g

29.	Aniline		-	500 g

30.	Acetone		-	500 g

31.	Litmus Blue solution		-	500 g

32.	Methyl Orange		-	  50 g

33.	Sodium Hypochlorite		-	500 ml

34.	Schiff’s Reagent		-	500 ml

ACIDS:

1. 	Concentrated Sulphuric Acid		-	2.5 litres

2. 	Concentrated Hydrochloric Acid	-	2.5 litres

3. 	Concentrated Nitric Acid		-	2.5 litres

4. 	Glacial Acetic Acid		-	2.5 litres

BASE:

Liquor Ammonium Hydroxide		-	2.5 litres

TEST FOR PROTEINS AND CARBOHYDRATES

1. Benedict’s Solution

2. Sudan III